## Sheet1
X | Y | Z
actinic-lights.light-White | Light White, uE | 0
actinic-lights.light-Blue | Light Blue, uE | 0
actinic-lights.light-Red | Light Red, uE | 0
actinic-lights.light-total | Light Total, uE | 0
balance.weight | Weight, mg | 0
chemostat-ph.reg-acid | Chemostat Acid | 0
chemostat-ph.reg-base | Chemostat Base | 0
ext-lights.light-A | External Lights A, uE | 0
ext-lights.light-B | External Lights B, uE | 0
ext-lights.light-C | External Lights C, uE | 0
ext-lights.light-D | External Lights D, uE | 0
ext-lights.light-total | External Lights Total, uE | 0
flm.fm-Blue | Fm Blue | 0
flm.fm-Red | Fm Red | 0
flm.ft-Blue | Ft Blue | 0
flm.ft-Red | Ft Red | 0
flm.light-Blue | Fm Flash Blue | 0
flm.light-Red | Fm Flash Red | 0
flm.qy-Blue | QY Blue | 0
flm.qy-Red | QY Red | 0
gas-analyser.co2-air | GAS gCO2, ppm | 0
gas-analyser.crit-pressure | GAS Critical Pressure, hPa | 0
gas-analyser.flow-reg | GAS Target Flow, ml/min | 0
gas-analyser.flow-sens | GAS Flow, ml/min | 0
gas-analyser.o2-air | GAS gO2 | 0
gas-analyser.pressure | GAS Pressure, hPa | 0
gas-mixer.flow-reg | GMS Target Flow, ml/min | 0
gas-mixer.flow-sens | GMS Flow, ml/min | 0
gas-mixer.valve-0-reg | GMS CO2 Target Flow, ml/min | 0
gas-mixer.valve-0-sens | GMS CO2 Flow, ml/min | 0
gas-mixer.valve-1-reg | GMS air/N2 Target Flow, ml/min | 0
gas-mixer.valve-1-sens | GMS air/N2 Flow, ml/min | 0
od-sensors.od-680 | OD680, AU | 0
od-sensors.od-720 | OD720, AU | 0
od-sensors.od-735 | OD735, AU | 0
od-sensors.od-delta | DOD, AU | 0
od-sensors.od-division | OD680/720 | 0
probes.co2-medium | dCO2 | 0
probes.o2 | dO2 | 0
probes.ph | pH | 0
pumps.pump-0 | Pump 0 | 0
pumps.pump-0-consumption | Pump 0 Consumption, ml | 0
pumps.pump-0-valve-1 | Pump 0 Valve 1 | 0
pumps.pump-0-valve-2 | Pump 0 Valve 2 | 0
pumps.pump-0.valve-3 | Pump 0 Valve 3 | 0
pumps.pump-0-valve-4 | Pump 0 Valve 4 | 0
pumps.pump-1 | Pump 1 | 0
pumps.pump-1-consumption | Pump 1 Consumption, ml | 0
pumps.pump-1-valve-1 | Pump 1 Valve 1 | 0
pumps.pump-1-valve-2 | Pump 1 Valve 2 | 0
pumps.pump-1-valve-3 | Pump 1 Valve 3 | 0
pumps.pump-1-valve-4 | Pump 1 Valve 4 | 0
pumps.pump-2 | Pump 2 | 0
pumps.pump-2-consumption | Pump 2 Consumption, ml | 0
pumps.pump-2-valve-1 | Pump 2 Valve 1 | 0
pumps.pump-2-valve-2 | Pump 2 Valve 2 | 0
pumps.pump-2-valve-3 | Pump 2 Valve 3 | 0
pumps.pump-2-valve-4 | Pump 2 Valve 4 | 0
pumps.pump-3 | Pump 3 | 0
pumps.pump-3-consumption | Pump 3 Consumption, ml | 0
pumps.pump-3-valve-1 | Pump 3 Valve 1 | 0
pumps.pump-3-valve-2 | Pump 3 Valve 2 | 0
pumps.pump-3-valve-3 | Pump 3 Valve 3 | 0
pumps.pump-3-valve-4 | Pump 3 Valve 4 | 0
pumps.pump-4 | Pump 4 | 0
pumps.pump-4-consumption | Pump 4 Consumption, ml | 0
pumps.pump-4-valve-1 | Pump 4 Valve 1 | 0
pumps.pump-4-valve-2 | Pump 4 Valve 2 | 0
pumps.pump-4-valve-3 | Pump 4 Valve 3 | 0
pumps.pump-4-valve-4 | Pump 4 Valve 4 | 0
pumps.pump-5 | Pump 5 | 0
pumps.pump-5-consumption | Pump 5 Consumption, ml | 0
pumps.pump-5-valve-1 | Pump 5 Valve 1 | 0
pumps.pump-5-valve-2 | Pump 5 Valve 2 | 0
pumps.pump-5-valve-3 | Pump 5 Valve 3 | 0
pumps.pump-5-valve-4 | Pump 5 Valve 4 | 0
pumps.pump-6 | Pump 6 | 0
pumps.pump-6-consumption | Pump 6 Consumption, ml | 0
pumps.pump-6-valve-1 | Pump 6 Valve 1 | 0
pumps.pump-6-valve-2 | Pump 6 Valve 2 | 0
pumps.pump-6-valve-3 | Pump 6 Valve 3 | 0
pumps.pump-6-valve-4 | Pump 6 Valve 4 | 0
pumps.pump-7 | Pump 7 | 0
pumps.pump-7-consumption | Pump 7 Consumption, ml | 0
pumps.pump-7-valve-1 | Pump 7 Valve 1 | 0
pumps.pump-7-valve-2 | Pump 7 Valve 2 | 0
pumps.pump-7-valve-3 | Pump 7 Valve 3 | 0
pumps.pump-7-valve-4 | Pump 7 Valve 4 | 0
pwm.stirrer | Stirrer, % | 1
switches.valve-0 | Bubbling Innterupter | 1
thermo.temperature | Temperature, °C | 0
thermo.thermo-reg | Thermoregulator, °C | 0
turbidostat.od-reg | Turbidostat | 0
actinic-lights.light-1 | Light 1, uE | 0
actinic-lights.light-2 | Light 2, uE | 0
actinic-lights.light-3 | Light 3, uE | 0
actinic-lights.light-4 | Light 4, uE | 0
actinic-lights.light-5 | Light 5, uE | 0
actinic-lights.light-6 | Light 6, uE | 0
actinic-lights.light-7 | Light 7, uE | 0
actinic-lights.light-8 | Light 8, uE | 0
actinic-lights.light-all | Lights All, uE | 0
mc-airpump.airpump | MC Airpump | 0
od-sensors-1.od-680 | OD680 (1), AU | 0
od-sensors-1.od-720 | OD720 (1), AU | 0
od-sensors-1.od-delta | DOD (1), AU | 0
od-sensors-1.od-division | OD680/720 (1) | 0
od-sensors-2.od-680 | OD680 (2), AU | 0
od-sensors-2.od-720 | OD720 (2), AU | 0
od-sensors-2.od-delta | DOD (2), AU | 0
od-sensors-2.od-division | OD680/720 (2) | 0
od-sensors-3.od-680 | OD680 (3), AU | 0
od-sensors-3.od-720 | OD720 (3), AU | 0
od-sensors-3.od-delta | DOD (3), AU | 0
od-sensors-3.od-division | OD680/720 (3) | 0
od-sensors-4.od-680 | OD680 (4), AU | 0
od-sensors-4.od-720 | OD720 (4), AU | 0
od-sensors-4.od-delta | DOD (4), AU | 0
od-sensors-4.od-division | OD680/720 (4) | 0
od-sensors-5.od-680 | OD680 (5), AU | 0
od-sensors-5.od-720 | OD720 (5), AU | 0
od-sensors-5.od-delta | DOD (5), AU | 0
od-sensors-5.od-division | OD680/720 (5) | 0
od-sensors-6.od-680 | OD680 (6), AU | 0
od-sensors-6.od-720 | OD720 (6), AU | 0
od-sensors-6.od-delta | DOD (6), AU | 0
od-sensors-6.od-division | OD680/720 (6) | 0
od-sensors-7.od-680 | OD680 (7), AU | 0
od-sensors-7.od-720 | OD720 (7), AU | 0
od-sensors-7.od-delta | DOD (7), AU | 0
od-sensors-7.od-division | OD680/720 (7) | 0
od-sensors-8.od-680 | OD680 (8), AU | 0
od-sensors-8.od-720 | OD720 (8), AU | 0
od-sensors-8.od-delta | DOD (8), AU | 0
od-sensors-8.od-division | OD680/720 (8) | 0
turbidostat-1.od-reg | Turbidostat (1) | 0
turbidostat-2.od-reg | Turbidostat (2) | 0
turbidostat-3.od-reg | Turbidostat (3) | 0
turbidostat-4.od-reg | Turbidostat (4) | 0
turbidostat-5.od-reg | Turbidostat (5) | 0
turbidostat-6.od-reg | Turbidostat (6) | 0
turbidostat-7.od-reg | Turbidostat (7) | 0
turbidostat-8.od-reg | Turbidostat (8) | 0
col1 | Custom Column 1 | 0
col2 | Custom Column 2 | 0
col3 | Custom Column 3 | 0
col4 | Custom Column 4 | 0
col5 | Custom Column 5 | 0
col6 | Custom Column 6 | 0
col7 | Custom Column 7 | 0
col8 | Custom Column 8 | 0
col9 | Custom Column 9 | 0